雰囲気制御型高温質量分析計の特性(III)

（東大原総センター１・東大院工２）

○１・２・２

Performance of the atmosphere controlled high temperature mass spectrometer (III)

(RCNST, Univ. of Tokyo1, Graduate School of Engineering, Univ. of Tokyo2)

○M. Yasumoto1, M. Yamawaki2, K. Yamaguchi2

As part of the study to develop the atmosphere-controlled high temperature mass spectrometer, temperature dependences of pressure of various gases in Knudsen cell were …..

…………… [ English Short Abstract   < 150 words]………………

from the cosine law to the mirror reflection.

１．はじめに　　気相固相平衡研究用として、雰囲気制御型高温質量分析計の開発を行っており、そのための装置性能特性測定で、一定流量下のクヌーセン

日本語要旨

要旨はＡ４用紙縦書き・２ページとします。

図・表を添付する場合は、この２ページの中に貼り付けてください。

完成原稿を２部、およびデータベース原稿１部を下記宛

郵送してください。（４月１４日必着）

〒113-8656　東京都文京区本郷7-3-1

東京大学大学院工学系研究科 システム量子工学専攻

山脇道夫（実行委員長）

TEL: 03-5841-7422      FAX: 03-5841-8633

e-mail: yamawaki@q.t.u-tokyo.ac.jp

１ページ目：

Ａ４用紙を使用し、余白を上30mm、下 30mm、右 30mm、左 30mm

ずつ残す。

さらに、左上（タイトルの左側）に講演番号記入用の余白を、横40mm

縦20mm残す。

では圧力測定値が違ってくる。平衡圧測定では、圧力一定となるため、Fig.3(a)に示すように軸上の分子流密度は両ケースで変わらないが、一定流量ガスを注

Keywords: Atmosphere controlled high temperature mass spectrometer・Knudsen cell・

mirror reflection  （キーワード　５つ以内）